## Sheet1
Hệ thống báo cháy và báo khói V1
1.Smoke and Fire Detection
1.1. Capable of detecting fire and smoke, installed in small rooms.
1.2. Must be capable of detecting smoke and fire with high sensitivity, within a radius of at least 5 meters.
2.Environmental Adaptability
2.1. Must operate effectively in various environmental conditions, including humidity, temperature variations, and dusty environments.
2.2. Must include a mechanism to adjust sensitivity based on environmental factors to reduce false alarms.
3.Automatic Alerts
3.1. Must emit an audible alarm when smoke or fire is detected.
3.2. Must emit a visual alarm through flashing lights.
4.Automatic Power Shutoff
4.1. Must be capable of shutting off power in the area when smoke or fire is detected.
5.Response Time
5.1. Must detect and respond to smoke and fire within 10 seconds.
5.2. Must trigger an alarm within 5 seconds of detecting smoke or fire.
6.User Interface
6.1.Must have a user-friendly interface on mobile phones
6.2.Must have a display screen (LCD) showing system status information.
7.Event Logging and Recording
7.1. Must log all smoke and fire detection events.
7.2. Must store event history for at least 1 month.
8.Production Cost
8.1. The production cost must be kept as low as possible.
9.Maintenance
9.1. Must have easy-to-replace components for regular maintenance.
10.Components
Arduino nano
LCD 1602 screen
SIM 800L module + SIM card
Flame sensor
Smoke sensor
0.3 spray BEC
3x5 silicone wire
Test board (Not needed if soldering directly)
Test leads male-to-female, female-to-female (Not needed if soldering directly)
Formex sheet
18650 batteries x 2
2P 18650 battery holder
5.5 female jack, switch
2S 8.4V battery charger